## Slide 1
MA8000/EMA12000 Fibre Channel Product Set
Storage controllers, cache, batteries:
176622-B21 HSG80 RAID Array Controller w/ 256MB Cache
380674-B21 HSx80 256MB cache (2*128MB)
176623-B21 HSG80 Cache bulkhead upgrade
135823-B21 Single external cache battery
Supported Hard Drives
328939-B22 9.1GB Ultra2 SCSI 10K RPM 1”
142671-B22 9.1GB Ultra3 SCSI 10K RPM 1”
128418-B22 18.2GB Ultra2 SCSI 10K RPM 1”
142673-B22 18.2GB Ultra3 SCSI 10K RPM 1”
123065-B22 9.1GB Ultra2 SCSI 7200 RPM 1”
388144-B22 18.2GB Ultra2 SCSI 7200 RPM 1”
176496-B22 36.4GB Ultra3 SCSI 10K RPM 1
148649-B21 0.6” Drive Extenders (Pack of 4)
176494-B21 72.8GB Ultra3 SCSI 10K RPM 1.6”
Compaq 9000 Series Rack, options:
120663-B22 9142 42U Cab (opal) No PDU- Shock Pallet
120664-B22 9136 -36U Cab (opal) No PDU- Shock Pallet
120665-B22 9122 -22U Cab (opal) No PDU- Shock Pallet
120670-B21 Side Panel
120673-B21 Rack Stabilizer
120669-B21 Multi-Bay Kit
120677/678-B21 Fan Kit 110/220V
169940-B21 Blank Panel Kit (Qty 4)
295363-002 PDU DOM 16 Amp - Zero U
6-20P PDU supports 6 p/s
295363-003 PDU DOM 32 Amp - Zero U
12 ft L6-30P PDU supports 6 p/s
Order 91xx with 1 or 2 PDU
Note: Not all options shown
Compaq
9000
Series
Rack
Retma
(OPAL only)
No CTO
Power Cord: IEC320-C13 to IEC320-C14
BN35S-02 2.5M IEC cable, black
BN30B-02 2.5M IEC cable, gray
August 2000
Multi-path Software
165989-B21 Secure Path V3.1 for WNT
165991-B21 Secure Path V2.1 for SUN
HA/F500 Clusters
Basic 103250-B21
CTO orders require Part Number118102-888 on the first line
Model 2200 (M2)
Controller Enclosure
Front
Back
135820-B21
Includes: (2) 180W Power Supplies, (3) Fans,
(6) UltraSCSI I/O Modules, EMU, (2) IEC C13-C14 Power Cords, RETMA mounting kit
3U Model 43x0 Device Enclosure
SCSI Cables - VHDCI to VHDCI
168256-B21 1Meter, 168257-B21 2M, 189505-B21 3M, 400983-005 5M, 400985-010 10M
Modular Storage Cabinets
180311-B21 42U (opal) 60Hz w/ (26) IEC320-C13 - C14 Power Cords
180312-B22 42U (opal) 50Hz w/ (26) IEC320-C13 - C14 Power Cords
180313-B21 36U (opal) 60Hz w/ (22) IEC320-C13 - C14 Power Cords
180314-B22 36U (opal) 50Hz w/ (22) IEC320-C13 - C14 Power Cords
180315-B21 22U (opal) 60Hz w/ (12) IEC320-C13 - C14 Power Cords
180316-B22 22U (opal) 50Hz w/ (12) IEC320-C13 - C14 Power Cords
180317-B21 41U (blue) 60Hz w/ (26) IEC320-C13 - C14 Power Cords
180318-B22 41U (blue) 50Hz w/ (26) IEC320-C13 - C14 Power Cords
Modular Storage
Cabinet
CTO avail.
All Modular Storage Cabs include:
Front & back doors, Side panels, (2) 2U 24Amp PDUs each with
(1) 15’ L6-30P input Power Cord, (16) IEC320-C13 receptacles
MA8000
175992-B21/60Hz
(1) 22U Modular
Storage Cab.
(1) M2200 Enclosure
(3) 4354 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
EMA12000 Blue
175993-B21/60Hz
(1) 41U Modular
Storage Cab.
(1) M2200 enclosure
(3) 4354 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
FC Storage Area Network Components
FC SAN Switches
158223-B21 FC SAN Switch 16 ports
158222-B21 FC SAN Switch 8 port
176219-B21 FC SAN Switch 8-EL
167365-B21 8/16 SAN Switch Bracket
160407-B21 8/16 SAN Switch Power option
GBICs, Connection Kits
380561-B21 Optical Short Wave GBIC
380579-B21 Kit 3 SW GBIC, 2-2M cables
380596-B21 Kit 2 SW GBIC, 2-2M cables
127508-B21 Optical Long Wave GBIC
Platform kits 1 required per platform, adapters 1 per host connection.
O.S. Versions G80 SFT Kit FC Adapters(AKA);Bus ACS Multi Path High Availability FC Support
WNT X86 NT4.0/W2K 380551-001 176479-B21(DS-KGPSA-CB);PCI 8.5G,F,S Secure Path V2.2.2 MSCSV1.0 Switch, Loop
NT 4.0 128696-B21 380574-001 (KGPSA-BC);PCI 8.5P Secure Path V2.2.2 MSCSV1.0 Switch
Tru64 4.0F/5.0A 380553-001 168794-B21(DS-KGPSA-CA);PCI 8.5G,F,S in Tru64 5.0A TruCluster 1.6 Switch
Tru64 UNIX 4.0F (Configured and ordered through CSS only) 8.5P Switch
Tru64 UNIX 5.0A 128693-B21 168794-B21(KGPSA-CA);PCI 8.5P in OS (NOT YET AVAILABLE) Switch
OpenVMS 7.2-1 380555-001 168794-B21(DS-KGPSA-CA);PCI 8.5G,F,S in OS OpenVMS Clusters Switch
OpenVMS 7.2-1 128694-B21 380574-001(KGPSA-BC);PCI 8.5P in OS OpenVMS Cluster Switch
Solaris 2.6, 7.0 380554-001 123503-001(DS-SWSA4-SC); SBU 8.5G,F,S Secure Path V2.1 FirstWatch onV2.6 Switch, Loop
380576-001(SWSA4-PC);PCI VCS V1.01 on V2.6,7.0
NetWare 4.2,5.0 380559-001 120186-B21 8.5G,F,S NCSV1.0 Loop
SGI IRIX 6.5..3 380556-001 Origin 2000 SGI XT-FC-2P:XIO 8.5G,F
Origin 200 SGI PCI-FC-IP;PCI (requires X-F-OE-KIT (MIA))
HP-UX 10.2, 11.0 380557-001 HP9000/800 K Class A3404A;HSC 8.5G,F Pvlinks in HP-UX 10.2 MC Service Guard Switch,Loop
HP9000/800 D Class A3591A;GSC
IBM AIX 4.2.1, 4.3 380558-001 149841-B21 PCI for RS/6000 8.5G,F HACMP V4.3 Loop
Linux Alpha 160088-B21 167432-001 PCI for Linux 8.5G,F Loop
Linux ProLiant 160088-B21 167432-001 PCI for Linux 8.5G,F Loop
HSG80 Array Controller Software (1 per controller)
380577-001 ACS V8.5G FC-AL Software
128697-B21 ACS V8.5F FC-AL/SW Software
160091-B21 ACS V8.5S FC/SW Software w/CLONE+SNAPSHOT
128698-B21 ACS V8.5P FC/SW Data Replication Software
Predefined Models
EMA12000 S14
175991-B21/60Hz
(1) 36U Modular
Storage Cab.
(1) M2200 Enclosure
(6) 4314 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
FC Cables 50 Micron Short Wave Multi mode
234457-B21/B22/B23/B24/B25 Optical cables (2/5/15/30/50m)
103381-001 - 4214R (Ultra 2)
190209-001 - 4314R - Single Bus, 14 Bay Device Enclosure, RETMA mounting kit, (2) Blowers, (1) Power Supply, (1) IEC-C13 to NEMA 5-15P Power Cord, (1) 3.7M VHD - VHD SCSI Cable
138151-001 - 4254 (Ultra 2)
190211-001 - 4354R - Dual Bus, 14 Bay Device Enclosure, RETMA mounting kit, (2) Blowers, (2) Power Supplies, (2) IEC-C13 to NEMA 5-15P Power Cords, (2) IEC-C13 to IEC-C14 Power Cords. (2) 3.7M VHD - VHD SCSI Cables
174631-B21 - 4310R - Single Bus, 10 Bay Device Enclosure, RETMA mounting kit, (2) Blowers, (2) Power Supplies, (1) IEC-C13 to NEMA 5-15P Power Cord, (1) 3.7M VHD - VHD SCSI Cable
174630-B21 - 4350R - Dual Bus, 10 Bay Device Enclosure, RETMA mounting kit, (2) Blowers, (2) Power Supplies (2) IEC-C13 to NEMA 5-15P Power Cords, (2) 3.7M VHD - VHD SCSI Cables
3U Model 42x4, 43x4 Device Enclosure
(1) M2200 enclosure
3 dual bus 14-bay drive enclosures
(1) M2200 enclosure
6 single bus 14-bay drive enclosures
EMA12000 S10
175994-B21/60Hz
(1) 42U Modular
Storage Cab.
(1) M2200 Enclosure
(6) 4310 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
(1) M2200 enclosure
6 single bus 10-bay drive enclosures
(1) M2200 enclosure
3 single bus 14-bay drive enclosures
EMA12000 D14
175990-B21/60Hz
(1) 42U Modular
Storage Cab.
(3) M2200 Enclosures
(9) 4354 Enclosures
(18) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
(1) M2200 enclosures
3 dual bus 14-bay drive enclosures
(1) M2200 enclosures
3 dual bus 14-bay drive enclosures
(1) M2200 enclosures
3 dual bus 14-bay drive enclosures
Enclosure options
119826-B21 4214R Redundant power supply
119829-B21 4214R Dual Bus I/O Module
190212-B21 Ultra3 Single Bus I/O Module
190213-B21 Ultra3 Dual Bus I/0 Module
176219-B21 FC SAN Switch 8-EL